## Sample
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1 | Smoke (Photo) | ELEVATOR LOBBY | 1ST FLOOR | Elevator Recall - Alternate Floor
D-2 | Smoke (Photo) | CORRIDOR BY RM 211 | 2ND FLOOR
D-3 | Smoke (Photo) | MECHANICAL ROOM | BSMNT WEST
D-4 | Smoke (Photo) | ELECTRIC ROOM 432 | 4TH FLR EAST
D-5 | Heat | BOILER ROOM | BSMNT EAST
D-6 | Heat | KITCHEN AREA | 1ST FLR EAST
D-7 | Duct Smoke | AHU-2 SUPPLY | PNTHSE ROOF | Supervisory, AHU-2 Shutdown
D-8 | Combo Smoke | APARTMENT 4132 | 4TH FLR EAST
D-9 | Smoke (Ionization) | COMPUTER LAB 4562 | 1ST FLOOR
D-10 | Smoke (Laser) | COMPUTER RM 4921 | 2ND FLOOR
M1 | Pull Station | WEST STAIR | 1ST FLOOR
M2 | Flow Switch | W.STAIR FLOW SWITCH | 2ND FLOOR
M3 | Tamper Switch | W.STAIR TAMPER SW. | 2ND FLOOR
M4 | Fire Pump | FIRE PUMP RUNNING | BASEMENT | Supervisory
M5 | Horn Circuit | WEST HORNS | 1ST FLOOR
M6 | Speaker Circuit | AUDITORIUM SPEAKERS | 2ND FLOOR
M7 | Strobe Circuit | EXTERIOR BEACON
M8 | Relay Module | AHU-2 SHUTDOWN |  | Activated from D7.
M9
M10
Verify all device & zone descriptions with the Engineer, Fire Dept. and Building Owner prior to programming
to ensure accuracy.

## Detectors Loop (1)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (1)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (2)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (2)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (3)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (3)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (4)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (4)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (5)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (5)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (6)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (6)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (7)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (7)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (8)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (8)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (9)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (9)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module

## Detectors Loop (10)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
D-1
D-2
D-3
D-4
D-5
D-6
D-7
D-8
D-9
D-10
D-11
D-12
D-13
D-14
D-15
D-16
D-17
D-18
D-19
D-20
D-21
D-22
D-23
D-24
D-25
D-26
D-27
D-28
D-29
D-30
D-31
D-32
D-33
D-34
D-35
D-36
D-37
D-38
D-39
D-40
D-41
D-42
D-43
D-44
D-45
D-46
D-47
D-48
D-49
D-50
D-51
D-52
D-53
D-54
D-55
D-56
D-57
D-58
D-59
D-60
D-61
D-62
D-63
D-64
D-65
D-66
D-67
D-68
D-69
D-70
D-71
D-72
D-73
D-74
D-75
D-76
D-77
D-78
D-79
D-80
D-81
D-82
D-83
D-84
D-85
D-86
D-87
D-88
D-89
D-90
D-91
D-92
D-93
D-94
D-95
D-96
D-97
D-98
D-99
D-100
D-101
D-102
D-103
D-104
D-105
D-106
D-107
D-108
D-109
D-110
D-111
D-112
D-113
D-114
D-115
D-116
D-117
D-118
D-119
D-120
D-121
D-122
D-123
D-124
D-125
D-126
D-127
D-128
D-129
D-130
D-131
D-132
D-133
D-134
D-135
D-136
D-137
D-138
D-139
D-140
D-141
D-142
D-143
D-144
D-145
D-146
D-147
D-148
D-149
D-150
D-151
D-152
D-153
D-154
D-155
D-156
D-157
D-158
D-159
| FSP-851 | Smoke (Photo) | Photoelectric Smoke; FSP-851
| FST-851 | Heat | Fixed Heat; FST-851
| FSD-751PL | Duct Smoke | Duct Smoke; FSD-751P
| FAPT-851 | Combo Smoke | Acclimate Smoke/Heat; FAPT-851
| FSI-851 | Smoke (Ionization) | Ion Smoke; FSI-851
| FSL-751 | Smoke (Laser) | Laser Smoke, FSL-751

## Modules Loop (10)
Address | TYPE | 20 CHARACTER DISPLAY | 12 CHARACTER | NOTES
M1
M2
M3
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15
M16
M17
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29
M30
M31
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43
M44
M45
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57
M58
M59
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71
M72
M73
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85
M86
M87
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99
M100
M101
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112
M113
M114
M115
M116
M117
M118
M119
M120
M121
M122
M123
M124
M125
M126
M127
M128
M129
M130
M131
M132
M133
M134
M135
M136
M137
M138
M139
M140
M141
M142
M143
M144
M145
M146
M147
M148
M149
M150
M151
M152
M153
M154
M155
M156
M157
M158
M159
| NBG-12LX | Pull Station
| FMM-1 | Flow Switch
| FMM-1 | Tamper Switch
| FMM-1 | Fire Pump
| FCM-1 | Horn Circuit
| FCM-1 | Speaker Circuit
| FCM-1 | Strobe Circuit
| FRM-1 | Relay Module